## AIC_Boiler_Nesta_Chrome_28-45
Column1 | _DistributedBy##OTHER## | _CurrentRevision##OTHER## | _CreatedBy##OTHER## | _BimSpecGuid##OTHER## | _BSBibleVersion##OTHER## | _Author##OTHER## | WidthBoiler##LENGTH##MILLIMETERS | Water_Treatment_Required##OTHER## | Water_Content##OTHER## | WarrantyStartDate##OTHER## | WarrantyGuarantorParts##OTHER## | WarrantyDurationUnit##OTHER## | WarrantyDurationParts##OTHER## | WarrantyDescription##OTHER## | Voltage##OTHER## | URL##OTHER## | Type##OTHER## | Turndown_Ratio##OTHER## | TotalTopToBottomClearance##LENGTH##MILLIMETERS | TotalLeftToRightClearance##LENGTH##MILLIMETERS | TotalFronttoBackClerance##LENGTH##MILLIMETERS | Supply_Phase##OTHER## | Starting_Current##OTHER## | Sound_Pressure_Level##OTHER## | SiphonVertical##LENGTH##MILLIMETERS | SiphonHorizontal##LENGTH##MILLIMETERS | SiphonDiameter##LENGTH##MILLIMETERS | Shipping_Weight##OTHER## | Shape##OTHER## | SerialNumber##OTHER## | Safety_Valve_Connection_Type##OTHER## | Safety_Valve_Connection_Size##OTHER## | Referenced_Standard##OTHER## | Rated_Output##OTHER## | Rated_Criteria##OTHER## | Product_Range##OTHER## | Product_Model_Number##OTHER## | Product_Literature##OTHER## | Primary_Fuel##OTHER## | Overall_Width##LENGTH##MILLIMETERS | Overall_Length##LENGTH##MILLIMETERS | Overall_Height##LENGTH##MILLIMETERS | Optional_Fuel##OTHER## | Oil_Consumption_rate##OTHER## | Nominal_Oil_Inlet_Pressure##OTHER## | Nominal_Gas_Inlet_Pressure##OTHER## | NominalLength##OTHER## | NominalHeight##OTHER## | NominalDepth##OTHER## | NOx_Emissions##OTHER## | NBSReference##OTHER## | NBSOfficeMasterTag##OTHER## | NBSObjectName##OTHER## | NBSNote##OTHER## | NBSDescription##OTHER## | Mounting##OTHER## | ModelReference##OTHER## | ModelNumber##OTHER## | Model##OTHER## | Minimum_Power_Consumption##OTHER## | Minimum_Operating_Pressure##OTHER## | Minimum_Oil_Inlet_Pressure##OTHER## | Minimum_Gas_Inlet_Pressure##OTHER## | Minimum_Flow_Rate_At_20C_Temperature_Differential##OTHER## | Minimum_Flow_Rate_At_11C_Temperature_Differential##OTHER## | Maximum_Power_Consumption##OTHER## | Maximum_Operating_Pressure##OTHER## | Maximum_Oil_Inlet_Pressure##OTHER## | Maximum_Gas_Inlet_Pressure##OTHER## | Material##OTHER## | Manufacturer_Website##OTHER## | Manufacturer##OTHER## | ManufactureName##OTHER## | Interlocks##OTHER## | InstallationDate##OTHER## | IfcExportType##OTHER## | IfcExportAs##OTHER## | IP_Rating##OTHER## | IK_Rating##OTHER## | Hydraulic_Resistance_at_20C_temperature_differential##OTHER## | Hydraulic_Resistance_at_11C_temperature_differential##OTHER## | HotWaterVertical##LENGTH##MILLIMETERS | WaterHorizontal##LENGTH##MILLIMETERS | Hot/ColdWaterDiameter##LENGTH##MILLIMETERS | HightBoiler##LENGTH##MILLIMETERS | HeaterOperation##OTHER## | Heat_Exchanger_Material##OTHER## | Gross_Weight##OTHER## | Gas_Consumption_rate##OTHER## | GasVertical##LENGTH##MILLIMETERS | GasHorizontal##LENGTH##MILLIMETERS | GasDiameter##LENGTH##MILLIMETERS | Fuse_Rating##OTHER## | Full_Load_Current##OTHER## | Fuel_Connection_Type##OTHER## | Fuel_Connection_Size##OTHER## | Frequency##OTHER## | Flue_or_Air_Intake_Classification##OTHER## | Flue_Connection_Size##OTHER## | FlueGasDiameter##LENGTH##MILLIMETERS | Flow_and_Return_Connection_Type##OTHER## | Flow_and_Return_Connection_Size##OTHER## | Finish##OTHER## | External_Material##OTHER## | ExpectedLife##OTHER## | Erp_Seasonal_Efficiency##OTHER## | ErP_Rated_Efficiency_at_Part_Load##OTHER## | ErP_Rated_Efficiency_at_Full_Load##OTHER## | ErP_Energy_Label##OTHER## | DurationUnit##OTHER## | Drain_Connection_Type##OTHER## | Drain_Connection_Size##OTHER## | Description##OTHER## | DepthCover##LENGTH##MILLIMETERS | DepthBoiler##LENGTH##MILLIMETERS | CreatedOn##OTHER## | CreatedBy##OTHER## | Control_Type##OTHER## | Configuration##OTHER## | Condensate_Drain_Type##OTHER## | Condensate_Drain_Size##OTHER## | Colour##OTHER## | ColdWaterVertical##LENGTH##MILLIMETERS | Clerance zone visibility##OTHER## | ClearanceTop##LENGTH##MILLIMETERS | ClearanceLeft##LENGTH##MILLIMETERS | ClearanceFront##LENGTH##MILLIMETERS | ClearanceBottom##LENGTH##MILLIMETERS | ClearanceBack##LENGTH##MILLIMETERS | Clearance Right##LENGTH##MILLIMETERS | ClassifcationValue##OTHER## | ClassifcationName##OTHER## | CE_Approval##OTHER## | Burner_Control_Type##OTHER## | Building_Regulations_Seasonal_Efficiency##OTHER## | BarCode##OTHER## | BMS_Links##OTHER## | BIMObjectName##OTHER## | AssetType##OTHER## | AssetIdentifier##OTHER## | Air_Inlet_Connection_Size##OTHER## | AirInletConnectionDiameter##LENGTH##MILLIMETERS
NC 24 |  | 0 | www.myaic.eu | 0 | 16 | DaPr | 445.000000000000 | Yes | 8 liters |  | info@myaic.eu | years | 0 |  | 230 | www.myaic.eu | Space heating | 8:01 | 1679.999999999999 | 525.000000000000 | 1102.999999999978 | 1 | n/a | 57 dB | 145.000000000000 | 179.000000000000 | 28.000000000000 | kg | Rectangular (Vertical) | 0 | n/a | n/a | EN 15502-1/EN 15502-2-1 | 24kW | 80/60 | Nesta Chrome | N 24 WH | https://myaic.eu/downloads | Gas - NG | 445.000000000000 | 400.000000000000 | 980.000000000000 | Gas - LPG | 0 | 0 | 20 mbar | 400 | 980 | 445 | 35.1 mg/kWh | 90-40-05/340 | n/a | AIC_GasFiredCondensingBoiler |  | n/a | Wall Mounted | Nesta Chrome | N 24 WH | N 24 WH | 16 W | 0.6 bar | 0 | 17 bar | 17 l/min | n/a | 67.5 W | 6 bar | 0 | 25 mbar |  | www.myaic.eu | AIC Europe BV | AIC Europe BV | Yes |  | Pset_BoilerTypeCommon | IfcBoilerType | X4D | n/a | <40 mbar | n/a | 47.000000000000 | 288.000000000000 | 26.900000000000 | 880.000000000000 | Condensing | Stainless Steel | 0 |  | 257.000000000000 | 286.000000000000 | 26.900000000000 | 6.3 A | n/a | Threaded | 3/4"" | 50 Hz | B23; B23P; C13(x); C33(x); C43(x); C53(x); C63(x); C83(x); C93(x) | 80 mm | 80.000000000000 | Threaded | 3/4"" |  |  |  | 0.93 | 97.6 % | 87.3 % | 1 | years | Other | n/a | A high efficiency condensing boiler; wall hung boiler; perfect for new installations or redevelopment of high end residential and commercial plantrooms; excellent performance; low operating costs with a high level of functionality | 400.000000000000 | 359.000000000000 |  | info@myaic.eu | Weather compensating; Optimised Start/Stop; On/Off | Single boiler | Plain | 20 mm | White | 329.000000000000 | 0 | 400.000000000000 | 40.000000000000 | 700.000000000000 | 400.000000000000 | 0.000000000000 | 40.000000000000 | Pr_60_60_08_34 | Uniclass2015 | Yes | Modulating | 95.7% |  | Yes | AIC_Boiler_Nesta_Chrome_28-45 | Fixed | n/a | 125 mm | 125.000000000000
NC 32 |  | 0 | www.myaic.eu | 0 | 16 | DaPr | 445.000000000000 | Yes | 8 liters |  | info@myaic.eu | years | 0 |  | 230 | www.myaic.eu | Space heating | 11:01 | 1679.999999999999 | 525.000000000000 | 1102.999999999978 | 1 | n/a | 58 dB | 145.000000000000 | 179.000000000000 | 28.000000000000 | kg | Rectangular (Vertical) | 0 | n/a | n/a | EN 15502-1/EN 15502-2-1 | 32kW | 80/60 | Nesta Chrome | N 32 WH | https://myaic.eu/downloads | Gas - NG | 445.000000000000 | 400.000000000000 | 980.000000000000 | Gas - LPG | 0 | 0 | 20 mbar | 400 | 980 | 445 | 35.1 mg/kWh | 90-40-05/340 | n/a | AIC_GasFiredCondensingBoiler |  | n/a | Wall Mounted | Nesta Chrome | N 32 WH | N 32 WH | 16 W | 0.6 bar | 0 | 17 bar | 23 l/min | n/a | 67.5 W | 6 bar | 0 | 25 mbar |  | www.myaic.eu | AIC Europe BV | AIC Europe BV | Yes |  | Pset_BoilerTypeCommon | IfcBoilerType | X4D | n/a | <40 mbar | n/a | 47.000000000000 | 288.000000000000 | 26.900000000000 | 880.000000000000 | Condensing | Stainless Steel | 0 |  | 257.000000000000 | 286.000000000000 | 26.900000000000 | 6.3 A | n/a | Threaded | 3/4"" | 50 Hz | B23; B23P; C13(x); C33(x); C43(x); C53(x); C63(x); C83(x); C93(x) | 80 mm | 80.000000000000 | Threaded | 3/4"" |  |  |  | 0.93 | 97.6 % | 87.3 % | 1 | years | Other | n/a | A high efficiency condensing boiler; wall hung boiler; perfect for new installations or redevelopment of high end residential and commercial plantrooms; excellent performance; low operating costs with a high level of functionality | 400.000000000000 | 359.000000000000 |  | info@myaic.eu | Weather compensating; Optimised Start/Stop; On/Off | Single boiler | Plain | 20 mm | White | 329.000000000000 | 0 | 400.000000000000 | 40.000000000000 | 700.000000000000 | 400.000000000000 | 0.000000000000 | 40.000000000000 | Pr_60_60_08_34 | Uniclass2015 | Yes | Modulating | 95.7% |  | Yes | AIC_Boiler_Nesta_Chrome_28-45 | Fixed | n/a | 125 mm | 125.000000000000
NC 38 |  | 0 | www.myaic.eu | 0 | 16 | DaPr | 445.000000000000 | Yes | 11.5 liters |  | info@myaic.eu | years | 0 |  | 230 | www.myaic.eu | Space heating | 9:01 | 1679.999999999999 | 525.000000000000 | 1102.999999999978 | 1 | n/a | 60 dB | 145.000000000000 | 179.000000000000 | 28.000000000000 | kg | Rectangular (Vertical) | 0 | n/a | n/a | EN 15502-1/EN 15502-2-1 | 38kW | 80/60 | Nesta Chrome | N 38 WH | https://myaic.eu/downloads | Gas - NG | 445.000000000000 | 400.000000000000 | 980.000000000000 | Gas - LPG | 0 | 0 | 20 mbar | 400 | 980 | 445 | 37.6 mg/kWh | 90-40-05/340 | n/a | AIC_GasFiredCondensingBoiler |  | n/a | Wall Mounted | Nesta Chrome | N 38 WH | N 38 WH | 45.5 W | 0.6 bar | 0 | 17 bar | 27 l/min | n/a | 90 W | 6 bar | 0 | 25 mbar |  | www.myaic.eu | AIC Europe BV | AIC Europe BV | Yes |  | Pset_BoilerTypeCommon | IfcBoilerType | X4D | n/a | <40 mbar | n/a | 47.000000000000 | 288.000000000000 | 33.700000000000 | 880.000000000000 | Condensing | Stainless Steel | 0 |  | 257.000000000000 | 286.000000000000 | 26.900000000000 | 6.3 A | n/a | Threaded | 3/4"" | 50 Hz | B23; B23P; C13(x); C33(x); C43(x); C53(x); C63(x); C83(x); C93(x) | 80 mm | 80.000000000000 | Threaded | 1"" |  |  |  | 0.93 | 97.0 % | 87.6 % | 1 | years | Other | n/a | A high efficiency condensing boiler; wall hung boiler; perfect for new installations or redevelopment of high end residential and commercial plantrooms; excellent performance; low operating costs with a high level of functionality | 400.000000000000 | 359.000000000000 |  | info@myaic.eu | Weather compensating; Optimised Start/Stop; On/Off | Single boiler | Plain | 20 mm | White | 329.000000000000 | 0 | 400.000000000000 | 40.000000000000 | 700.000000000000 | 400.000000000000 | 0.000000000000 | 40.000000000000 | Pr_60_60_08_34 | Uniclass2015 | Yes | Modulating | 95.2% |  | Yes | AIC_Boiler_Nesta_Chrome_28-45 | Fixed | n/a | 125 mm | 125.000000000000
NC 45 |  | 0 | www.myaic.eu | 0 | 16 | DaPr | 445.000000000000 | Yes | 11.6 liters |  | info@myaic.eu | years | 0 |  | 230 | www.myaic.eu | Space heating | 11:01 | 1679.999999999999 | 525.000000000000 | 1102.999999999978 | 1 | n/a | 61 dB | 145.000000000000 | 179.000000000000 | 28.000000000000 | kg | Rectangular (Vertical) | 0 | n/a | n/a | EN 15502-1/EN 15502-2-1 | 45kW | 80/60 | Nesta Chrome | N 45 WH | https://myaic.eu/downloads | Gas - NG | 445.000000000000 | 400.000000000000 | 980.000000000000 | Gas - LPG | 0 | 0 | 20 mbar | 400 | 980 | 445 | 37.6 mg/kWh | 90-40-05/340 | n/a | AIC_GasFiredCondensingBoiler |  | n/a | Wall Mounted | Nesta Chrome | N 45 WH | N 45 WH | 45.5 W | 0.6 bar | 0 | 17 bar | 32 l/min | n/a | 90 W | 6 bar | 0 | 25 mbar |  | www.myaic.eu | AIC Europe BV | AIC Europe BV | Yes |  | Pset_BoilerTypeCommon | IfcBoilerType | X4D | n/a | <40 mbar | n/a | 47.000000000000 | 288.000000000000 | 33.700000000000 | 880.000000000000 | Condensing | Stainless Steel | 0 |  | 257.000000000000 | 286.000000000000 | 26.900000000000 | 6.3 A | n/a | Threaded | 3/4"" | 50 Hz | B23; B23P; C13(x); C33(x); C43(x); C53(x); C63(x); C83(x); C93(x) | 80 mm | 80.000000000000 | Threaded | 1"" |  |  |  | 0.93 | 97.0 % | 87.6 % | 1 | years | Other | n/a | A high efficiency condensing boiler; wall hung boiler; perfect for new installations or redevelopment of high end residential and commercial plantrooms; excellent performance; low operating costs with a high level of functionality | 400.000000000000 | 359.000000000000 |  | info@myaic.eu | Weather compensating; Optimised Start/Stop; On/Off | Single boiler | Plain | 20 mm | White | 329.000000000000 | 0 | 400.000000000000 | 40.000000000000 | 700.000000000000 | 400.000000000000 | 0.000000000000 | 40.000000000000 | Pr_60_60_08_34 | Uniclass2015 | Yes | Modulating | 95.2% |  | Yes | AIC_Boiler_Nesta_Chrome_28-45 | Fixed | n/a | 125 mm | 125.000000000000

## Arkusz1
| _DistributedBy##OTHER## | _CurrentRevision##OTHER## | _CreatedBy##OTHER## | _BimSpecGuid##OTHER## | _BSBibleVersion##OTHER## | _Author##OTHER## | WidthBoiler##LENGTH##MILLIMETERS | Water_Treatment_Required##OTHER## | Water_Content##OTHER## | WarrantyStartDate##OTHER## | WarrantyGuarantorParts##OTHER## | WarrantyDurationUnit##OTHER## | WarrantyDurationParts##OTHER## | WarrantyDescription##OTHER## | Voltage##OTHER## | URL##OTHER## | Type##OTHER## | Turndown_Ratio##OTHER## | TotalTopToBottomClearance##LENGTH##MILLIMETERS | TotalLeftToRightClearance##LENGTH##MILLIMETERS | TotalFronttoBackClerance##LENGTH##MILLIMETERS | Supply_Phase##OTHER## | Starting_Current##OTHER## | Sound_Pressure_Level##OTHER## | SiphonVertical##LENGTH##MILLIMETERS | SiphonHorizontal##LENGTH##MILLIMETERS | SiphonDiameter##LENGTH##MILLIMETERS | Shipping_Weight##OTHER## | Shape##OTHER## | SerialNumber##OTHER## | Safety_Valve_Connection_Type##OTHER## | Safety_Valve_Connection_Size##OTHER## | Referenced_Standard##OTHER## | Rated_Output##OTHER## | Rated_Criteria##OTHER## | Product_Range##OTHER## | Product_Model_Number##OTHER## | Product_Literature##OTHER## | Primary_Fuel##OTHER## | Overall_Width##LENGTH##MILLIMETERS | Overall_Length##LENGTH##MILLIMETERS | Overall_Height##LENGTH##MILLIMETERS | Optional_Fuel##OTHER## | Oil_Consumption_rate##OTHER## | Nominal_Oil_Inlet_Pressure##OTHER## | Nominal_Gas_Inlet_Pressure##OTHER## | NominalLength##OTHER## | NominalHeight##OTHER## | NominalDepth##OTHER## | NOx_Emissions##OTHER## | NBSReference##OTHER## | NBSOfficeMasterTag##OTHER## | NBSObjectName##OTHER## | NBSNote##OTHER## | NBSDescription##OTHER## | Mounting##OTHER## | ModelReference##OTHER## | ModelNumber##OTHER## | Model##OTHER## | Minimum_Power_Consumption##OTHER## | Minimum_Operating_Pressure##OTHER## | Minimum_Oil_Inlet_Pressure##OTHER## | Minimum_Gas_Inlet_Pressure##OTHER## | Minimum_Flow_Rate_At_20C_Temperature_Differential##OTHER## | Minimum_Flow_Rate_At_11C_Temperature_Differential##OTHER## | Maximum_Power_Consumption##OTHER## | Maximum_Operating_Pressure##OTHER## | Maximum_Oil_Inlet_Pressure##OTHER## | Maximum_Gas_Inlet_Pressure##OTHER## | Material##OTHER## | Manufacturer_Website##OTHER## | Manufacturer##OTHER## | ManufactureName##OTHER## | Interlocks##OTHER## | InstallationDate##OTHER## | IfcExportType##OTHER## | IfcExportAs##OTHER## | IP_Rating##OTHER## | IK_Rating##OTHER## | Hydraulic_Resistance_at_20C_temperature_differential##OTHER## | Hydraulic_Resistance_at_11C_temperature_differential##OTHER## | HotWaterVertical##LENGTH##MILLIMETERS | WaterHorizontal##LENGTH##MILLIMETERS | Hot/ColdWaterDiameter##LENGTH##MILLIMETERS | HightBoiler##LENGTH##MILLIMETERS | HeaterOperation##OTHER## | Heat_Exchanger_Material##OTHER## | Gross_Weight##OTHER## | Gas_Consumption_rate##OTHER## | GasVertical##LENGTH##MILLIMETERS | GasHorizontal##LENGTH##MILLIMETERS | GasDiameter##LENGTH##MILLIMETERS | Fuse_Rating##OTHER## | Full_Load_Current##OTHER## | Fuel_Connection_Type##OTHER## | Fuel_Connection_Size##OTHER## | Frequency##OTHER## | Flue_or_Air_Intake_Classification##OTHER## | Flue_Connection_Size##OTHER## | FlueGasDiameter##LENGTH##MILLIMETERS | Flow_and_Return_Connection_Type##OTHER## | Flow_and_Return_Connection_Size##OTHER## | Finish##OTHER## | External_Material##OTHER## | ExpectedLife##OTHER## | Erp_Seasonal_Efficiency##OTHER## | ErP_Rated_Efficiency_at_Part_Load##OTHER## | ErP_Rated_Efficiency_at_Full_Load##OTHER## | ErP_Energy_Label##OTHER## | DurationUnit##OTHER## | Drain_Connection_Type##OTHER## | Drain_Connection_Size##OTHER## | Description##OTHER## | DepthCover##LENGTH##MILLIMETERS | DepthBoiler##LENGTH##MILLIMETERS | CreatedOn##OTHER## | CreatedBy##OTHER## | Control_Type##OTHER## | Configuration##OTHER## | Condensate_Drain_Type##OTHER## | Condensate_Drain_Size##OTHER## | Colour##OTHER## | ColdWaterVertical##LENGTH##MILLIMETERS | Clerance zone visibility##OTHER## | ClearanceTop##LENGTH##MILLIMETERS | ClearanceLeft##LENGTH##MILLIMETERS | ClearanceFront##LENGTH##MILLIMETERS | ClearanceBottom##LENGTH##MILLIMETERS | ClearanceBack##LENGTH##MILLIMETERS | Clearance Right##LENGTH##MILLIMETERS | ClassifcationValue##OTHER## | ClassifcationName##OTHER## | CE_Approval##OTHER## | Burner_Control_Type##OTHER## | Building_Regulations_Seasonal_Efficiency##OTHER## | BarCode##OTHER## | BMS_Links##OTHER## | BIMObjectName##OTHER## | AssetType##OTHER## | AssetIdentifier##OTHER## | Air_Inlet_Connection_Size##OTHER## | AirInletConnectionDiameter##LENGTH##MILLIMETERS
NC 24 |  | 0 | www.myaic.eu | 0 | 16 | DaPr | 445.000000000000 | Yes | 8 liters |  | info@myaic.eu | years | 0 |  | 230 | www.myaic.eu | Space heating | 0.33403 | 1679.999999999999 | 525.000000000000 | 1102.999999999978 | 1 | n/a | 57 dB | 145.000000000000 | 179.000000000000 | 28.000000000000 | kg | Rectangular (Vertical) | 0 | n/a | n/a | EN 15502-1/EN 15502-2-1 | 24kW | 80/60 | Nesta Chrome | N 24 WH | https://myaic.eu/downloads | Gas - NG | 445.000000000000 | 400.000000000000 | 980.000000000000 | Gas - LPG | 0 | 0 | 20 mbar | 400 | 980 | 445 | 35.1 mg/kWh | 90-40-05/340 | n/a | AIC_GasFiredCondensingBoiler |  | n/a | Wall Mounted | Nesta Chrome | N 24 WH | N 24 WH | 16 W | 0.6 bar | 0 | 17 bar | 17 l/min | n/a | 67.5 W | 6 bar | 0 | 25 mbar |  | www.myaic.eu | AIC Europe BV | AIC Europe BV | Yes |  | Pset_BoilerTypeCommon | IfcBoilerType | X4D | n/a | <40 mbar | n/a | 47.000000000000 | 288.000000000000 | 26.900000000000 | 880.000000000000 | Condensing | Stainless Steel | 0 |  | 257.000000000000 | 286.000000000000 | 26.900000000000 | 6.3 A | n/a | Threaded | 3/4"" | 50 Hz | B23; B23P; C13(x); C33(x); C43(x); C53(x); C63(x); C83(x); C93(x) | 80 mm | 80.000000000000 | Threaded | 3/4"" |  |  |  | 0.93 | 97.6 % | 87.3 % | 1 | years | Other | n/a | A high efficiency condensing boiler; wall hung boiler; perfect for new installations or redevelopment of high end residential and commercial plantrooms; excellent performance; low operating costs with a high level of functionality | 400.000000000000 | 359.000000000000 |  | info@myaic.eu | Weather compensating; Optimised Start/Stop; On/Off | Single boiler | Plain | 20 mm | White | 329.000000000000 | 0 | 400.000000000000 | 40.000000000000 | 700.000000000000 | 400.000000000000 | 0.000000000000 | 40.000000000000 | Pr_60_60_08_34 | Uniclass2015 | Yes | Modulating | 95.7% |  | Yes | AIC_Boiler_Nesta_Chrome_28-45 | Fixed | n/a | 125 mm | 125.000000000000
NC 32 |  | 0 | www.myaic.eu | 0 | 16 | DaPr | 445.000000000000 | Yes | 8 liters |  | info@myaic.eu | years | 0 |  | 230 | www.myaic.eu | Space heating | 0.45903 | 1679.999999999999 | 525.000000000000 | 1102.999999999978 | 1 | n/a | 58 dB | 145.000000000000 | 179.000000000000 | 28.000000000000 | kg | Rectangular (Vertical) | 0 | n/a | n/a | EN 15502-1/EN 15502-2-1 | 32kW | 80/60 | Nesta Chrome | N 32 WH | https://myaic.eu/downloads | Gas - NG | 445.000000000000 | 400.000000000000 | 980.000000000000 | Gas - LPG | 0 | 0 | 20 mbar | 400 | 980 | 445 | 35.1 mg/kWh | 90-40-05/340 | n/a | AIC_GasFiredCondensingBoiler |  | n/a | Wall Mounted | Nesta Chrome | N 32 WH | N 32 WH | 16 W | 0.6 bar | 0 | 17 bar | 23 l/min | n/a | 67.5 W | 6 bar | 0 | 25 mbar |  | www.myaic.eu | AIC Europe BV | AIC Europe BV | Yes |  | Pset_BoilerTypeCommon | IfcBoilerType | X4D | n/a | <40 mbar | n/a | 47.000000000000 | 288.000000000000 | 26.900000000000 | 880.000000000000 | Condensing | Stainless Steel | 0 |  | 257.000000000000 | 286.000000000000 | 26.900000000000 | 6.3 A | n/a | Threaded | 3/4"" | 50 Hz | B23; B23P; C13(x); C33(x); C43(x); C53(x); C63(x); C83(x); C93(x) | 80 mm | 80.000000000000 | Threaded | 3/4"" |  |  |  | 0.93 | 97.6 % | 87.3 % | 1 | years | Other | n/a | A high efficiency condensing boiler; wall hung boiler; perfect for new installations or redevelopment of high end residential and commercial plantrooms; excellent performance; low operating costs with a high level of functionality | 400.000000000000 | 359.000000000000 |  | info@myaic.eu | Weather compensating; Optimised Start/Stop; On/Off | Single boiler | Plain | 20 mm | White | 329.000000000000 | 0 | 400.000000000000 | 40.000000000000 | 700.000000000000 | 400.000000000000 | 0.000000000000 | 40.000000000000 | Pr_60_60_08_34 | Uniclass2015 | Yes | Modulating | 95.7% |  | Yes | AIC_Boiler_Nesta_Chrome_28-45 | Fixed | n/a | 125 mm | 125.000000000000
NC 38 |  | 0 | www.myaic.eu | 0 | 16 | DaPr | 445.000000000000 | Yes | 11.5 liters |  | info@myaic.eu | years | 0 |  | 230 | www.myaic.eu | Space heating | 0.37569 | 1679.999999999999 | 525.000000000000 | 1102.999999999978 | 1 | n/a | 60 dB | 145.000000000000 | 179.000000000000 | 28.000000000000 | kg | Rectangular (Vertical) | 0 | n/a | n/a | EN 15502-1/EN 15502-2-1 | 38kW | 80/60 | Nesta Chrome | N 38 WH | https://myaic.eu/downloads | Gas - NG | 445.000000000000 | 400.000000000000 | 980.000000000000 | Gas - LPG | 0 | 0 | 20 mbar | 400 | 980 | 445 | 37.6 mg/kWh | 90-40-05/340 | n/a | AIC_GasFiredCondensingBoiler |  | n/a | Wall Mounted | Nesta Chrome | N 38 WH | N 38 WH | 45.5 W | 0.6 bar | 0 | 17 bar | 27 l/min | n/a | 90 W | 6 bar | 0 | 25 mbar |  | www.myaic.eu | AIC Europe BV | AIC Europe BV | Yes |  | Pset_BoilerTypeCommon | IfcBoilerType | X4D | n/a | <40 mbar | n/a | 47.000000000000 | 288.000000000000 | 33.700000000000 | 880.000000000000 | Condensing | Stainless Steel | 0 |  | 257.000000000000 | 286.000000000000 | 26.900000000000 | 6.3 A | n/a | Threaded | 3/4"" | 50 Hz | B23; B23P; C13(x); C33(x); C43(x); C53(x); C63(x); C83(x); C93(x) | 80 mm | 80.000000000000 | Threaded | 1"" |  |  |  | 0.93 | 97.0 % | 87.6 % | 1 | years | Other | n/a | A high efficiency condensing boiler; wall hung boiler; perfect for new installations or redevelopment of high end residential and commercial plantrooms; excellent performance; low operating costs with a high level of functionality | 400.000000000000 | 359.000000000000 |  | info@myaic.eu | Weather compensating; Optimised Start/Stop; On/Off | Single boiler | Plain | 20 mm | White | 329.000000000000 | 0 | 400.000000000000 | 40.000000000000 | 700.000000000000 | 400.000000000000 | 0.000000000000 | 40.000000000000 | Pr_60_60_08_34 | Uniclass2015 | Yes | Modulating | 95.2% |  | Yes | AIC_Boiler_Nesta_Chrome_28-45 | Fixed | n/a | 125 mm | 125.000000000000
NC 45 |  | 0 | www.myaic.eu | 0 | 16 | DaPr | 445.000000000000 | Yes | 11.6 liters |  | info@myaic.eu | years | 0 |  | 230 | www.myaic.eu | Space heating | 0.45903 | 1679.999999999999 | 525.000000000000 | 1102.999999999978 | 1 | n/a | 61 dB | 145.000000000000 | 179.000000000000 | 28.000000000000 | kg | Rectangular (Vertical) | 0 | n/a | n/a | EN 15502-1/EN 15502-2-1 | 45kW | 80/60 | Nesta Chrome | N 45 WH | https://myaic.eu/downloads | Gas - NG | 445.000000000000 | 400.000000000000 | 980.000000000000 | Gas - LPG | 0 | 0 | 20 mbar | 400 | 980 | 445 | 37.6 mg/kWh | 90-40-05/340 | n/a | AIC_GasFiredCondensingBoiler |  | n/a | Wall Mounted | Nesta Chrome | N 45 WH | N 45 WH | 45.5 W | 0.6 bar | 0 | 17 bar | 32 l/min | n/a | 90 W | 6 bar | 0 | 25 mbar |  | www.myaic.eu | AIC Europe BV | AIC Europe BV | Yes |  | Pset_BoilerTypeCommon | IfcBoilerType | X4D | n/a | <40 mbar | n/a | 47.000000000000 | 288.000000000000 | 33.700000000000 | 880.000000000000 | Condensing | Stainless Steel | 0 |  | 257.000000000000 | 286.000000000000 | 26.900000000000 | 6.3 A | n/a | Threaded | 3/4"" | 50 Hz | B23; B23P; C13(x); C33(x); C43(x); C53(x); C63(x); C83(x); C93(x) | 80 mm | 80.000000000000 | Threaded | 1"" |  |  |  | 0.93 | 97.0 % | 87.6 % | 1 | years | Other | n/a | A high efficiency condensing boiler; wall hung boiler; perfect for new installations or redevelopment of high end residential and commercial plantrooms; excellent performance; low operating costs with a high level of functionality | 400.000000000000 | 359.000000000000 |  | info@myaic.eu | Weather compensating; Optimised Start/Stop; On/Off | Single boiler | Plain | 20 mm | White | 329.000000000000 | 0 | 400.000000000000 | 40.000000000000 | 700.000000000000 | 400.000000000000 | 0.000000000000 | 40.000000000000 | Pr_60_60_08_34 | Uniclass2015 | Yes | Modulating | 95.2% |  | Yes | AIC_Boiler_Nesta_Chrome_28-45 | Fixed | n/a | 125 mm | 125.000000000000